## Matched Spares
Material Number | Device | Version | Description | Reference | Category | Option | Follow Up Material | Alternative Material | Changed By | External Return | Currency Sign | Currency | denserank | Page | AssetID | 1
100641-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Anti-Seize AS 030 Pen 30g | +MVSG | Screws / Nuts / Bolts / Washers |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 6fa77367-5ca5-4cca-bc1d-b94f3446d345 | 29.42
100657-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | hexagon screw ISO4017-M12x110-A2-70 | -Busway | Screws / Nuts / Bolts / Washers |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 74ead7a4-8e84-49fc-a614-29bd517c3935 | 1.52
102778-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | room temperature controller 5...60°C | +External | Cooling System | 5_0 or 5_1 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 90d70622-ce0b-4b19-9be3-2a4dac4b26df | 37.4
102779-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | battery lithium 3.6V | +IKI30E | Others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | a40d6cd0-63b0-4e07-97cf-6a0e91c273c8 | 23.38
103095-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | fitting M20x1.5 O brass Ni |  | Connectors / Plugs / Terminals |  |  |  | Corrective Maintenance 2 | n/a - Don't Return | € | EUR | 1 | 0 | 886371c7-6e60-444d-bdf1-32fd4044ac6c | 9.9
104672-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Container lifting lug set 152/45mm |  | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 6aa77f5e-6694-4b79-b1ed-d290077ec2c6 | 1378.81
105083-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | thermometer/transducer set -20...150° | +MVT | MV others | 17_0 or 17_1 |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 38655561-0d68-4917-829f-33bc713c4e96 | 654.5
109004-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | temperature sensor | +Temp | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | d135f89f-7c57-4da9-8473-bf0bd3d40c83 | 26.18
109005-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | battery Pb 12V | +Genesis X13 | MV Switchgear / Accessories | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | d48642b1-faa5-4d2d-bd4b-c04d730ecf32 | 388.4
109006-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | DC-UPS in: 24VDC/28A out: 24VDC/25A |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | aea77a4e-2a21-4629-a680-deb0d2b791bf | 478.21
|  |  |  | +C-TEC 2425 P | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | aea77a4e-2a21-4629-a680-deb0d2b791bf | 478.21
109007-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | push button red 1xNO | -S11 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | bbf78fab-0068-4bfa-81ff-dc0d4d592a91 | 6.06
109008-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | push button green 1 NO | -S10 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | b2ba7bfe-c4ec-4ac1-b8a2-8594c5e238df | 6.06
109017-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Smoke Detector ø102x40,5mm WH | -B1 | Others | 24_2 or 24_3 or 24_6 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | fd451721-825c-46db-b169-0bbe6c1137eb | 109.24
109063-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | overcurrent protection relay | +IKI35 | MV Switchgear / Accessories |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 0ddc8f18-371b-4439-a44a-cadc4ef9cecb | 2040.7
109064-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer IKI-30 | +IKI30E | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | f71f3a98-3e91-4528-ac19-a8f630f6dfd2 | 261.78
109070-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | modification transformer 10A | +IKI35 | MV Switchgear / Accessories |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | b20b097f-ea93-42ad-b8a3-d4e6cfe29815 | 133.1
109073-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MVSG Voltage detection (CAPDIS S1) | +MVSG | MV Switchgear / Accessories |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | d2bdea88-556f-4191-b93a-64baa9c3bd6d | 220.27
109074-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MVSG Voltage detection CAPDIS S2 + Aux | +MVSG | MV Switchgear / Accessories |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 7bff1aff-4ace-433b-bb37-b28d71b1f627 | 561
109075-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | touch safe heater 240V 50W 4-pol. | -E3 | Cabinet Heating | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | a3c593d8-b65b-45d0-8354-d4d16e738a7c | 47.22
109093-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | socket smoke detector ø127x29mm WH | -B1 | Others | 24_2 or 24_3 or 24_6 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 8d66013f-5518-4b6c-8fa4-bfe45ab3c931 | 84.96
[6 empty] | 28_4 |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 3cf35b1e-1f9c-48aa-824e-43707dfa784a | 457.35
110349-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer 64...224A | +WIC | MV Switchgear / Accessories |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 |  | 546.57
110351-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | WIC1-2 PE relay | +WIC | MV Switchgear / Accessories |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | bfbd5a27-1cae-46b7-96fe-e3632a971c8d | 3313.5
110421-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer 35/1A 690V |  | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 5427c0c8-2f6f-4cee-90e0-68f04a8b5151 | 103.18
111170-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MV-plug 24-36kV M480TB/G-18 |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 864504f4-6d59-4b25-83fe-15bcffe7c112 | 286.11
111170-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | MV-plug set 36kV |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 2 | 0 | 864504f4-6d59-4b25-83fe-15bcffe7c112 | 1019.55
111171-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MV-plug set 42kV |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 26e00cee-0403-4d9e-b43b-e5f272512aec | 1265
111859-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | modification transformer set 10A | +IKI30E | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 4291424a-0937-476b-a098-b3bf75c910ac | 325.14
112085-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable set for IKI30 & IKI35 |  | Cable / Wires / Busbars |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | a102e17f-83b2-4c10-8bc9-78d8d4a7ebba | 34.43
112200-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | transformer monitor acc. EN 60255 | +IKI30E | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 0c8b1fbb-70c2-4757-afe2-f3aeab56540a | 1719.15
113060-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer 32...112A 0.72kV | +WIC | MV Switchgear / Accessories |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 1666faac-4d7d-4d01-800d-6f8cda1179c6 | 1314.89
113068-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable clamp ø7.0 24-38mm PA6-GF30 bk |  | Cable / Wires / Busbars |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | a65aa5a6-b7c8-4cff-8b54-56f19a8cbb7f | 6.55
113877-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | UPS IN: 115...230VAC OUT: 24VDC 3A | +Akkutec 2403 Vds | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 5662d096-0667-4783-be4a-4326efefa190 | 491.98
113902-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | contact block 230VAC 6A 1NO | -S1 | MV others | 22_3 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | faede8cc-e55c-4839-ab03-520e45e32247 | 9.9
|  |  |  | -S3 | MV others | 22_3 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | faede8cc-e55c-4839-ab03-520e45e32247 | 9.9
[6 empty] | 24_1 or 24_3 or 24_5 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | faede8cc-e55c-4839-ab03-520e45e32247 | 9.9
|  |  |  | -S10 | MV others | 22_3 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | faede8cc-e55c-4839-ab03-520e45e32247 | 9.9
|  |  |  | -S11 | MV others | 22_3 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | faede8cc-e55c-4839-ab03-520e45e32247 | 9.9
113916-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | fuse 20A 10.3x38mm gPV | -F71 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 8ed8fab6-65e5-4458-a0bd-7ba6727e211e | 18.7
113922-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | thermostat 240VAC with ext. sensor | -E4 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | b8554dae-89e7-40ab-9c91-30ba0e10d220 | 257.71
113925-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | LED lightning device | -E1 ; -E2 | Others | 2_0 and 24_4 or 24_5 or 24_6 or 24_7 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 29b63fbf-97f8-490c-af2a-4fa0eea435e2 | 113
113926-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | selector switch 3 pos short handle bk | -S3 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 430c2d68-4924-4de0-99bc-870a08e3cd63 | 33.99
113927-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | selector switch 3 pos long handle bk | -S1 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 460bc395-ee83-4f3c-8546-a57a25156df1 | 10.92
113934-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | power supply single phase 24VDC 5A 13W |  | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | bf1603ea-54fd-41ea-b35f-85b1d6ec2e7c | 160.22
[6 empty] | 28_4 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 47a9e3bd-2f49-46ae-9045-5d3016fd2e2e | 388.4
113942-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | lens indicator light ø30mm white | -H1 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | a7ac3b3f-b7b1-41f3-8b37-203cf2936fd0 | 10.92
113943-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | LED contact block WH 24VAC/DC | -H1 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | c28c137f-4620-43f1-960c-b8e23432f23a | 8.73
113947-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | contactor 400VAC/220VDC 9A 2xNO 2xNC | -K15 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 7f0b54d4-8561-4e9c-950a-3e594df8f9d5 | 39.33
113954-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | contactor 400VAC/220VDC 9A 3xNO 1xNC | -K16 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 1d72a031-b63a-4b49-9a9d-4979522a5dd2 | 38.25
113958-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | time relay 1xCO 250VACDC 4A DIN | -K1; -K2 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | f4d88bda-9f5c-43fa-b8d8-0480c773c575 | 53.27
114140-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | battery holder with battery lithium 3.6V | +EKOR | Electrical Components |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | e8c5fb1e-fee7-4730-85d5-1e295c0234bd | 230.62
114724-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | pipe coupling 2 zoll x 1.5 zoll | -Oil | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | aab07bc9-5127-45ee-952d-2ae928e621a7 | 20.08
114814-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | DC-UPS in: 24VDC/20A out: 24VDC/20A | -T1 | Electrical Components |  |  |  |  | n/a - Don't Return | € | EUR | 2 | 0 |  | 345
114848-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | sealing tape PTFE 12mm | -MVT | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | cd49d192-a4f6-4561-98d5-2498cede2a06 | 0.24
114854-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | ball valve I/O 1/8 Zoll | -MVT | MV Transformer / Accessories |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 664be383-5571-49c1-bdaa-53f568035cb8 | 7
114893-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable clamp ø36...52mm BK |  | Connectors / Plugs / Terminals |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 67092c3e-ec0d-4c1f-9cd3-a19393235503 | 42.08
114932-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer 16...56A 720V | +WIC | MV Switchgear / Accessories |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 03787289-3769-453c-996f-731b07be7e0f | 740.38
114933-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer 128...448A 720V | +WIC | MV Switchgear / Accessories |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 3a67cb52-463c-41b4-8bea-e75902342103 | 869.85
114977-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | adapter clip for MV-C-cone | +IKI30E | MV Switchgear / Accessories |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 0b54d44e-a0d3-4448-ba4f-5b76f78fb35c | 19.9
114995-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | push button 1xNC 1xNO 250VAC 16A GY | -S2 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 3cee1334-2ebd-47f9-8e9a-7ed6fc4b871b | 19.43
116151-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | round cable 3x0.50mm² GY | -PT100 | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 0afb8f5d-928c-4005-ae75-25c2591f9b75 | 1.33
116279-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MV-plug set 24kV |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | af718977-8bc2-40ba-ac51-3eec0e66b333 | 673.2
[6 empty] | 19_2 and 37_1 and 2_0 or 2_1 and 29_1 |  |  |  | NO - Don't Return | € | EUR | 4 | 0 |  | 48.54
[6 empty] | 29_1 |  |  |  | NO - Don't Return | € | EUR | 4 | 0 |  | 48.54
116602-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | conical grommet for MV cable |  | Cable / Wires / Busbars |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | b3718ed4-7907-48fc-83c0-bd60c9483522 | 12.13
[6 empty] | 19_4 and 37_1 and 2_0 or 2_1 and 29_1 |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | b3718ed4-7907-48fc-83c0-bd60c9483522 | 12.13
116668-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | block contactor 400VAC/220VDC 25A 1NO3NC | -Q5 | MV others | 28_1 or 28_2 or 28_3 or 28_4 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 4 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 57.33
116788-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | switch off head ø40mm for emergency stop | -S3 | MV others | 24_1 or 24_3 or 24_5 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 798575d5-e4de-4640-91c4-58f34984e25f | 23.88
116799-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | double contact block 230VAC 6A 1NO 1NC | -S3 | MV others | 24_1 or 24_3 or 24_5 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 939bcabf-2b13-476a-82ff-51bc7af56b69 | 9.9
116868-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | residual-current device 2-pol 25A | -F32D | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 48c9aab9-75ad-4498-8c6a-a940cef2bbe1 | 70.07
116882-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | fan axial 230VAC 110W ø397x117mm | +External M | MV others | 2_0 or 2_1 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | fdd752c3-8419-49cf-9174-809858e3f237 | 303.42
116985-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | contact block 230VAC 10A 1NC | -S3 | MV others | 24_1 or 24_3 or 24_5 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | f89e003b-e822-4449-becd-5efaae04e61c | 4.08
117728-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | reducing nipple O/I NPT 1/8 Zoll-G 1/8 Z | +MVT | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 40b20c09-b032-42b4-9634-16558d2612c4 | 9.46
119041-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | ac busway | -Busway | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | aba6671f-0e8f-4ac8-b0c4-8416dba609f1 | 1893.43
119042-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | flexible busbar 368mm x 26.5mm | -Busway | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 6 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 620
119370-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | power relay 2xCO 250VAC 8A -THT- | -K17 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 7 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 9.96
119394-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | frame for the ventilation window |  | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 8 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 280
119636-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Warning label high volt. AU outs. en |  | Labels | 1_0 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | e2aa2185-853c-46e2-a219-d02c76ce880b | 18.9
119638-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Warning label auth. pers. AU outs. en |  | Labels | 1_0 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 1d3ca1e9-1ade-4dcb-ad37-54c76dba6927 | 18.9
119693-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Warning label do not remove cover AU en |  | Labels | 1_0 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 31d262e3-f276-4a22-88a1-856137236da4 | 18.9
120007-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | diagram case 235x280x40mm |  | Documentation |  |  |  |  | NO - Don't Return | € | EUR | 2 | 0 | b4fc1209-5678-4e0e-8f0c-1b62c8e07e98 | 26.71
120564-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | container side twist lock |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 0f774667-4640-4eb7-8410-6f187c9255d2 | 145.65
121573-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | terminal strip 5-cond. 80mm 10-pol MC | X480 | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 26.34
121580-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | fuse 1.00A 19x4.5x20mm | +Fuseboard | Fuses | 22_3 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 52ea092c-b734-4b52-9f57-7329aa00ddd3 | 0.11
123105-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | gasket ID 30mm OD 46mm | +MVT SGB;Westrafo | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | baa4383e-db86-4467-a130-1ec7c2b19270 | 0.94
123117-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | gasket ID 52mm OD 80mm | +MVT SGB;Westrafo | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 775c47c4-a333-4059-8847-2ed773516e41 | 4.26
123131-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | 3µF/420VAC ±5% MKP 2-pol | +External | Electrical Components | 23_4 or 5 or 6 and 2_0 or 2_1 |  | 123130-00.01 | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 2 | 0 | 6d3b00dc-997d-4ba5-8e2f-32982b9cba98 | 14.38
123132-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | limit switch 1NC/1NO | -S1; -S2 | Power Contactor/Switches/Breaker | 24_4 or 24_5 or 24_6 or 24_7 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | c61e761e-71cb-46d0-86d0-dc65da4264d5 | 29
124045-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | auxiliary block 500VAC 1xNC 1xNO | -K16 aux. | Connectors / Plugs / Terminals | 22_3 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 2 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 57.74
[6 empty] | 28_4 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 2 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 57.74
124095-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Australian socket-outlet 250VAC 10A |  | Connectors / Plugs / Terminals | 1_0 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | c68d857c-4cda-44e6-ac09-5e6453d0773c | 15
124096-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | One-way Switch 2p 250VAC 16A |  | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 57dedf5f-8c90-4e3b-a991-79e8a56c4957 | 10
124109-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | contact block holder 5-positions | -S3 | Connectors / Plugs / Terminals | 24_1 or 24_3 or 24_5 or 24_7 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 4 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 3.59
124111-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | enclosure 1-fold IP55 RAL7035 |  | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 5c17d2cd-21ef-42c4-beb9-77214a116702 | 8.5
124648-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | blind plate MV cable entrance |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | a665de40-f833-4b48-b0f7-dcb61130499d | 19.49
[6 empty] | 23_2 and 5_0 or 5_1 and 3_0 or 3_1 or 3_2 or 3_3 or 3_4 or 3_5 or 3_6 or 3_7 or 3_8 or 3_9 or 3_B or 3_C |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | b3d7148a-f372-4630-ac6a-7bebf157a15a | 11.78
125307-00.02 | MVPS-xxxx-S2-1x | A4 SOC00 | double cable rail support kit |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 7f19ff19-28c0-4fea-818d-96785981dbb6 | 444
125405-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | transformer monitor acc. EN 60255 | +IKI30E | MV others |  | 109063-00.01 |  |  | NO - Don't Return | € | EUR | 1 | 0 | c306de3e-0c32-4d9d-8ce0-a50f1cb9292d | 1689.96
125713-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | gasket 30x30x2000mm |  | Cable / Wires / Busbars | 29_1 and not 1_F or 1_G |  |  |  | NO - Don't Return | € | EUR | 2 | 0 | a102e17f-83b2-4c10-8bc9-78d8d4a7ebba | 9.19
200159-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | insulating gloves 36kV size 10 |  | Tools |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 44bb7ff1-06c3-4fc9-bcc5-7b3f3b43e649 | 2036.43
200400-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | insulating operating stick |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 11 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 1270.5
200493-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | insulating mat 36kV |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 6b63b479-7629-4ad6-8dcd-ea0f1c8b5ee0 | 1548.8
200616-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MV-plug set 24kV |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 51f55e1b-cb99-4a07-ab41-0a184620e1ce | 924
200712-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable clamp ø60...84mm BK |  | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 5 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 53
201267-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | switch mode power supply 072W/024V/AA |  | Electrical Components |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 1b554062-e8de-44bb-9f61-041e8f8159b3 | 69
201985-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | CapDis-Module C2m | +MVSG Siemens | MV Switchgear / Accessories |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 8309aeca-bed3-4adf-850c-55ea977935e6 | 29.3
202045-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | line circuit breaker 2-pol C6A |  | Power Contactor/Switches/Breaker |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 893d3dc3-55fb-40ae-85f0-527a56cf9304 | 55
202440-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | 3µF/420VAC ±5% MKP 2-pol | +External | Electrical Components | 23_4 or 24_5 or 24_6 and 2_0 or 2_1 |  |  |  | NO - Don't Return | € | EUR | 3 | 0 | 6d3b00dc-997d-4ba5-8e2f-32982b9cba98 | 17
202813-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | fan axial 230VAC 217W 440x440mm | +External M | Cooling System | 2_0 or 2_1 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 3d0df144-098e-4af2-ae93-83acab9364b3 | 300
202860-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MV-plug 36kV |  | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 7 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 618
203249-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | line circuit breaker 1-pol C8A |  | Power Contactor/Switches/Breaker | 28_4 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 01a2048b-b2c2-464a-ae83-3be86c78ff64 | 52
203265-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable insert 63/27-50 bk |  | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 20befdab-79f5-4158-b4fc-6175b0d3c031 | 17
203279-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | line circuit breaker 2-pol C25A |  | Power Contactor/Switches/Breaker |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 194daff5-7e21-4a7d-b324-b19062cc255b | 149
204053-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | socket Siemens 8DJH24RRL |  | MV others | 19_1 and 37_0 and 2_0 or 2_1 |  |  |  | NO - Don't Return | € | EUR | 15 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 842
204054-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cover plate-UL-Siemens 8DJH24RRL |  | MV others | 19_1 and 37_0 and 2_0 or 2_1 |  |  |  | NO - Don't Return | € | EUR | 16 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 536
204057-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | floor adapter Siemens 8DJH24RRL |  | MV others | 19_1 and 37_0 and 2_0 or 2_1 |  |  |  | NO - Don't Return | € | EUR | 17 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 285
204058-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | pressure releaf flap 24kV RRL |  | MV others | 19_1 and 37_0 and 2_0 or 2_1 |  |  |  | NO - Don't Return | € | EUR | 18 | 0 | 91d97cda-ca59-4446-b116-38e8e44b8ce3 | 113
204063-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | pressure releaf flap 36kV RRL |  | MV others | 19_1 and 37_0 and 2_0 or 2_1 |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | bacb102f-b6b1-4401-94bc-98c22d33b05c | 113
205805-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | silicone gasket 14x8x2150mm | -Busway | Others |  | 210510-00.01 |  |  | NO - Don't Return | € | EUR | 9 | 0 |  | 19.5
206426-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Cold applied elbow seal 35kV 60-250 mm² |  | Cable / Wires / Busbars |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 3380ba23-cd3b-4c59-a747-aac55b1cc49d | 29.9
206565-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | Accessory kit for MV T-plug |  | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 3fb42642-f9f2-4c29-ae74-77dab5729a77 | 129
207663-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | DiggiMEC-A | +MVSG | MV others | 6_3 Siemens |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 69e1f16a-174f-40c7-a234-c5dc9b21d32e | 825
207664-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | summation current transformer | +MVSG | MV others | 6_3 Siemens |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 78c0e609-dd37-44c2-8d78-cf0797e0c7ff | 1790
207665-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer W3 32-112A | +MVSG | MV others | 6_3 Siemens |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | d1d94d57-7a35-4efd-967e-8525bb88ed46 | 175
207666-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | transformer protection device | +MVSG | MV others | 6_3 Siemens |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | fb6d31bb-492a-4c85-8b8f-80873160a17e | 995
207970-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cold applied elbow seal 35kV 60 mm² |  | Cable / Wires / Busbars |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 1bfd3f49-5b05-4000-a6f6-b0c5d1789c01 | 35
208931-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable clamp 3x ø24-37mm BK |  | Cable / Wires / Busbars |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | 1f04433f-2947-4160-a658-a8753dc0abb7 | 27.5
208932-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cable clamp 3x ø32-47mm BK |  | Cable / Wires / Busbars |  |  |  |  | n/a - Don't Return | € | EUR | 2 | 0 | 1f04433f-2947-4160-a658-a8753dc0abb7 | 32.5
209778-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | single stroke solenoid 24VDC |  | MV others |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | 2ed31d9e-d5a7-42d2-a3a0-18266ec86763 | 75
210130-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | DIN rail 35x318 |  | Wall Mounting Bracket |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | d477f1df-7250-480d-84cf-4a745a0317c2 | 12.9
210132-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | uprights size 3-4 |  | Wall Mounting Bracket |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | 6b8327da-17f2-4324-9fe0-aef54b620902 | 12.9
211355-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | ventilation grid LV-room |  | MV others |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 07712bc4-7703-468c-a116-393c1be4f094 | 99
211611-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | flexible slit conduit Ø35.5mm BK |  | Cable / Wires / Busbars |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | c768576d-2127-45cf-a4b6-5963357c414c | 15
213410-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | cabinet roof MVPS |  | MV others |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | 759c0bc6-8af6-4385-8a26-39a21da2ba69 | 775
214001-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | blind plate DC cable entry |  | MV others |  |  |  |  | n/a - Don't Return | € | EUR | 10 | 0 |  | 51
214469-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | insulation panel 1560x1020x10mm |  | MV others |  |  |  |  | n/a - Don't Return | € | EUR | 11 | 0 |  | 90
214490-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | enclosure 3-fold IP55 RAL7035 |  | Connectors / Plugs / Terminals |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | ff981326-812f-4f8f-915f-a8894346bca1 | 15
214863-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | LV-compartment door w. locking system |  | MV Transformer / Accessories |  |  |  |  | n/a - Don't Return | € | EUR | 13 | 0 |  | 565
215321-00.01 | MVPS-xxxx-S2-1x | A4 SOC00 | square ribbed insert 150x150 mm |  | MV others |  |  |  |  | n/a - Don't Return | € | EUR | 1 | 0 | 6f09f206-22be-422e-a0fe-d4474a1d7803 | 10
30-101900.01 | MVPS-xxxx-S2-1x | A4 SOC00 | power analyser UMG 604 E |  | Control Components |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 4725e57c-42f4-46e7-81f0-dc5e8ca70bd2 | 1069.32
31-100800.01 | MVPS-xxxx-S2-1x | A4 SOC00 | current transformer 35/1A 690V |  | Electrical Components |  |  |  | Corrective Maintenance 2 | NO - Don't Return | € | EUR | 1 | 0 | 3a676abb-6e2b-4dbe-9055-a4044e579cb7 | 178.01
[6 empty] | 28_4 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | efd75fc0-334d-4b2f-af00-1a206c2e657a | 577.51
43-104000.01 | MVPS-xxxx-S2-1x | A4 SOC00 | MIXO dummy module | -X660 | Others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 4f9145b0-20e7-4be6-8905-26b75e9b6001 | 1.74
43-107000.01 | MVPS-xxxx-S2-1x | A4 SOC00 | clutch housing, size 104.27 1xM32 top | -X660 | Connectors / Plugs / Terminals |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 9 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 19.79
43-107100.01 | MVPS-xxxx-S2-1x | A4 SOC00 | holding mobil for 6 modular units | -X660 | Connectors / Plugs / Terminals |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 10 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 20.03
43-107200.01 | MVPS-xxxx-S2-1x | A4 SOC00 | plug insert for 1x RJ45 and 4x male pin | -X660 | Connectors / Plugs / Terminals |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 11 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 6.13
43-107300.01 | MVPS-xxxx-S2-1x | A4 SOC00 | male insert 5-pol 16A 400V 0.14-2.5mm² | -X660 | Connectors / Plugs / Terminals |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 12 | 0 | 06305deb-3c43-45a9-9f71-ac9fe38f6ec8 | 18.89
58-940000.01 | MVPS-xxxx-S2-1x | A4 SOC00 | prefilter Petro-Pipe 1.5 in male fitting | -Oil | MV others | 18_1 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 9c25c2ce-47c7-41b7-8d4c-df53c179ba21 | 207.9
|  |  |  | +Oil | MV others | 7_1 and 18_1 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 9c25c2ce-47c7-41b7-8d4c-df53c179ba21 | 207.9
58-940200.01 | MVPS-xxxx-S2-1x | A4 SOC00 | filter cartridge Petro-PIPE green 1.5 | +Oil | MV others | 7_1 and 18_1 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 64d6795a-b254-456d-a868-bca116e1bdf8 | 792.98
[6 empty] | 18_1 and 7_1 |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 64d6795a-b254-456d-a868-bca116e1bdf8 | 792.98
5M0-150-002-001 | MVPS-xxxx-S2-1x | A4 SOC00 | Screw Kit LV busbar MVPS-xxxx-S2-10 |  | Screws / Nuts / Bolts / Washers |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | fb04d87a-1b34-4297-920e-3320ca1cac55 | 137.5
5M0-857-001-001 | MVPS-xxxx-S2-1x | A4 SOC00 | oil drain adapter DN31 blind cap set |  | Accessory Kit |  |  |  |  | NO - Don't Return | € | EUR | 14 | 0 |  | 19.9
5M0-857-002-001 | MVPS-xxxx-S2-1x | A4 SOC00 | oil drain adapter DN40 blind cap set |  | Accessory Kit |  |  |  |  | NO - Don't Return | € | EUR | 15 | 0 |  | 19.9
60-108600.01 | MVPS-xxxx-S2-1x | A4 SOC00 | relay socket with screw terminal BU | -K17 | MV others | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | b23188de-615d-4cf6-80c3-71d32f651b25 | 6.36
61-118316 | MVPS-xxxx-S2-1x | A4 SOC00 | miniature circuit-breaker 3-pole C16A |  | Power Contactor/Switches/Breaker |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | 73bd67d8-4731-4e84-ad55-57dbc5c51bc2 | 29.5
61-128121 | MVPS-xxxx-S2-1x | A4 SOC00 | miniature circuit-breaker 1-pole C16A |  | Power Contactor/Switches/Breaker | 22_3 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | ae1aabd4-5cbe-4dd6-a96a-770fc7c634e3 | 15.8
[6 empty] | 28_4 or 28_5 |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | ae1aabd4-5cbe-4dd6-a96a-770fc7c634e3 | 15.8
|  |  |  | -F32 | Power Contactor/Switches/Breaker |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | ae1aabd4-5cbe-4dd6-a96a-770fc7c634e3 | 15.8
|  |  |  | customization | Power Contactor/Switches/Breaker |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | ae1aabd4-5cbe-4dd6-a96a-770fc7c634e3 | 15.8
65-171800.01 | MVPS-xxxx-S2-1x | A4 SOC00 | replacement dirt filter for Petro-Pipe® | +Oil | MV others |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 7339a4fc-8d11-4e58-8a1e-d60a62333ef1 | 25.19
66-0832000.02 | MVPS-xxxx-S2-1x | A4 SOC00 | hose screw connection M20x1.5 PA6 BK | +MVT | MV others |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | ecb62a3c-be9a-4dc4-9d73-05595e523d83 | 1.87
80-108500.01 | MVPS-xxxx-S2-1x | A4 SOC00 | spring washer DIN6796-12-A2 | -Busway | Screws / Nuts / Bolts / Washers |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | f65506fe-b60c-4927-a83f-a9fbc8851c03 | 0.29
80-108700.01 | MVPS-xxxx-S2-1x | A4 SOC00 | washer 12.5 ~ISO7089-A2-70 | -Busway | Screws / Nuts / Bolts / Washers |  |  |  | Corrective Maintenance 1 | NO - Don't Return | € | EUR | 1 | 0 | 649f6102-7cc3-46ed-9fa4-eeeb9bf8d292 | 1.22
80-123000.01 | MVPS-xxxx-S2-1x | A4 SOC00 | hexagon nut ISO4032-M12-A2-70-SLC | -Busway | Screws / Nuts / Bolts / Washers |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | e8baa630-0e31-4419-94d4-ce7fb0f0f63a | 0.16
87-8624 | MVPS-xxxx-S2-1x | A4 SOC00 | USB-cable 2.0A-plug/USB-Mini-plug | IKI35 | Cable / Wires / Busbars |  |  |  |  | NO - Don't Return | € | EUR | 1 | 0 | bff5c9aa-0149-49a7-829b-48938ec0e096 | 12.5